Intermittent Water Supply:

Trying to Better Understand a Complicated Problem

by John Erickson

Imagine waking up at 1 am every day to fill up barrels in your backyard with water, since water only comes to your tap in the middle of the night. While much easier than hauling water from a well, this isn’t exactly what most people think of when they hear about piped water supply with a tap in every house. However, this situation is common in parts of many Latin American cities.

In the Latin American city where I spent my summer, some houses have rooftop tanks that fill up automatically when the water comes on, but, in most households, barrels, buckets, and cement tubs called pilas are used to store water until it comes again.

Intermittent water service happens when it is not possible to keep all of the drinking water pipes in a city full of water and pressurized continuously. This situation normally results from a combination of problems that develop over time.

Consider a hypothetical (but typical) informal residential settlement built at the edge of a city, next to an existing neighborhood. In the beginning, new residents haul water from neighbors who have existing connections to the drinking water system. Later, they uncover the drinking water mains and install and connect their own pipes to bring water directly to taps in their yards.

Since the settlement was unplanned and wasn’t sanctioned by the government, the water utility has not been able to do anything to prepare for this new demand for water. The pipes and the wells that were designed to supply existing neighborhoods are now being used to supply those same neighborhoods plus the settlement that sprang up alongside them.

But the pipes and the wells can’t do it. In the morning, when everyone wakes up and turns on the water, water pressure drops and the pipes begin to empty. Only the houses in the low areas have water, and the houses in the high areas, whether they are in the new settlement or the old neighborhood, are left dry. The houses in the high parts only get water at night, when everyone else turns off their taps.

To make matters worse, the informal pipe system built by the residents in the new settlement leaks a lot, so even at night much water is lost. Power failures, which stop the water utilities’ pumps and wells for hours at a time, are also common. In many Latin American cities, marginal housing settlements are often located in elevated areas surrounding the city, making it even harder for water to reach them.

Soon, with increasing demand for water in the new settlement, and high rates of leakage, some houses are barely getting water at all, not even in the middle of the night. So that everyone has at least some water, the water utility may step in and divide the area into sectors, with each sector receiving water at a certain time, or only on certain days, as controlled by valves operated by the utility. In extreme cases, especially in settlements at high elevation, water may only come by tanker truck.

The scenario described above is highly simplified and just one example of how intermittent water supply can develop. In practice, urban drinking water systems are continuously evolving. Growth, planned or unplanned, puts new stress on the system’s capacity, and the water utility does what it can to respond.

Often, water service is already intermittent when new settlements are built. New, informal settlements are not added on to a technically planned system, but rather to a patched-together system that has evolved from settlements built in past decades that have now evolved into established neighborhoods.

Aside from inconveniencing users and causing headaches for the water utility, intermittent supply can affect water quality and lead to further deterioration of pipe infrastructure. When the water is off and there is no pressure in drinking water pipes, contaminants in groundwater surrounding the pipes can seep in through leaks. Risk of contaminant infiltration increases if drinking water pipes have lots of leaks or are installed alongside leaky sewer pipes or drainage canals.

Water can also be contaminated during household storage, which is made necessary by intermittent supply. Drinking water stored in a bucket can easily be contaminated by a child’s hand reaching in to dip out water with a cup.

Drinking water utilities in Latin America normally chlorinate water, both to kill microbes that may be in the source water and to leave a residual concentration of chlorine in the water intended to kill microbes that could re-contaminate the water during distribution. Nevertheless, chlorination practices are often not one hundred percent consistent, and residual chlorine may not be strong enough to handle all contaminant infiltration events.

Intermittent operation of drinking water systems causes pressure variations and results in a mix of air and water often being present in pipes. According to a 2011 article in Water 21 by Bambous Charalambous, intermittent supply results in more pipe breaks and more leakage. Based on this theory, once intermittent supply is implemented, it leads to an increase in leakage, exacerbating the problem that led to intermittent supply in the first place.

Clearly, there are many disadvantages to intermittent drinking water supply as compared to continuous supply. However, unplanned urban growth in cities with limited resources has prevented many water utilities from avoiding intermittent supply.

Once a water system is operating intermittently, returning it to continuous supply can be difficult and costly. Despite disadvantages, intermittent supply is one way of reducing leakage from the distribution system in the short term. When only a portion of the system is pressurized at any given time, only a portion of the system is leaking at one time. Even if enough water is available to pump into an intermittent system to make it continuous, rates of water loss will likely soar if nothing is done to first reduce leakage.

More research is needed to better understand how intermittent supply affects water quality, water consumption and leakage, water pressure conditions, and infrastructure integrity. This improved understanding would help governments and water utilities decide how big a priority continuous water supply should be. A better understanding of the specific effects of intermittent water supply could also help water utilities reduce or mitigate its negative consequences. It might also be helpful in formulating strategies for how to avoid intermittent supply in the first place.

With the support of a grant from the Tinker foundation, I spent the last summer basically embedded in an urban water utility in Latin America, riding around with the people who open and close valves, monitor wells, repair pipes, look for leaks, measure water pressure, and monitor water quality. I also got the chance to talk to utility managers about how operations decisions are made and how my research could be useful to them.

Based on what I learned this summer, I will formulate a detailed research plan, including water quality sampling and pressure monitoring, and hopefully return to the same water utility next year to collect data that will help this utility and others to better understand the effects of intermittent water supply.

John Erickson is a Ph.D. student in Civil and Environmental Engineering at UC Berkeley. He received a Tinker Summer Research Grant in 2012.